## 8 june 2022
ROBERTSON SEWAGE TREATMENT SYSTEM
LICENCE NUMBER 20205
Licencing Period 1 September 2021 - 30 August 2022
Daily test results for Discharge Monitoring Point 1
SAMPLE ANALYSIS DATE |  |  | BOD | TSS | Ammonia | Total N | Total P | pH | Faecal coliforms | *Oil & Grease
Date Taken | Received by | Published | (mg/L) | (mg/L) | (mg/L) N | TKN+NOX (mg/L) | (mg/L) P | pH units | (CFU/100mL) | (mg/L)
2022-03-16 | EB | 2022-03-31 | 1 | 1 | 0.01 | 0.63 | 0.116 | 7.2 | 1 | 2.5
2022-03-22 | EB | 2022-04-13 | 1 | 1 | 0.01 | 0.7 | 0.121 | 7.2 | 1 | 2.5
2022-03-29 | TK | 2022-05-20 | 1 | 1 | 0.01 | 0.86 | 0.143 | 7.3 | 1 | 2.5
2022-04-05 | EB | 2022-04-22 | 1 | 1 | 0.01 | 0.99 | 0.067 | 7 | 1 | 2.5
2022-04-13 | TK | 2022-05-20 | 1 | 1 | 0.01 | 5.15 | 0.145 | 7.2 | 1 | 2.5
2022-04-20 | EB | 2022-05-10 | 1 | 1 | 0.01 | 0.64 | 0.158 | 7.4 | 1 | 2.5
2022-04-27 | TK | 2022-05-20 | 1 | 3 | 0.01 | 2.82 | 0.174 | 7.4 | 1 | 2.5
2022-05-03 | EB | 2022-05-20 | 1 | 1 | 0.01 | 3.55 | 0.178 | 7.2 | 1 | 2.5
2022-05-11 | EB | 2022-05-27 | 1 | 1 | 0.01 | 3.16 | 0.058 | 7.3 | 1 | 2.5
2022-05-17 | EB | 2022-06-06 | 1 | 1 | 0.01 | 0.85 | 0.099 | 7.4 | 1 | 2.5
2022-05-25 | TK | 2022-06-10 | 1 | 6 | 0.06 | 1.87 | 0.288 | 7.3 | 1 | 2.5
2022-05-31 | EB | 2022-06-22 | 1 | 1 | 0.08 | 4.1 | 0.187 | 7.3 | 1 | 2.5
2022-06-08 | EB | 2022-06-28 | 1 | 1 | 0.01 | 1.54 | 0.135 | 7.5 | 1 | 2.5
50 percentile |  |  | 1 | 1 | 0.01 | 1.54 | 0.143
80 percentile | [8 empty] | 1
90 percentile |  |  | 1 | 2.6 | 0.05 | 3.99 | 0.1852
100 percentile | [7 empty] | 7.2846
*Oil & Grease - Only required when discharging to the river.
Licence Target
50 percentile |  |  | 5 | 5 |  | 5 | 0.2
80 percentile | [8 empty] | 20
90 percentile |  |  | 10 | 10 | 1 | 10 | 0.3
100 percentile | [7 empty] | 6.5-8.5
Exceedance Report | tj
Date | Parameter |  | Comment
2022-03-08 | All | No sample collected during flood conditions at discharge site due to safety issues for personnel.