## 31 may 22
BERRIMA SEWAGE TREATMENT SYSTEM
LICENCE NUMBER 3575
Licencing Period 1 May 2022 - 30 April 2023
FINAL EFFLUENT MONITORING MONTHLY TEST RESULTS (POINT 2)
SAMPLE DATE |  |  |  | BOD | TSS | Ammonia | Total N | Total P | pH | Faecal coliforms | *Oil & Grease
Taken | Received | Reviewed By | Published | (mg/L) | (mg/L) | (mg/L) N | TKN+NOX (mg/L) | (mg/L) | pH units | (CFU/100mL) | (mg/L)
2022-05-03 | 2022-05-12 | EB | 2022-05-20 | 1 | 2 | 0.25 | 2.57 | 0.087 | 7.6 | 720 | NA
2022-05-31 | 2022-06-15 | EB | 2022-06-22 | 1 | 2 | 0.11 | 2.27 | 0.055 | 8.1 | 670 | NA
50 percentile |  |  |  | 1 | 2 |  | 2.42 | 0.071
80 percentile
90 percentile |  |  |  | 1 | 2 | 0.236 | 2.54 | 0.0838
100 percentile | [8 empty] | 7.65
Licence Target
50 percentile |  |  |  | 7 | 15 |  | 7 | 0.5
80 percentile
90 percentile |  |  |  | 10 | 20 | 2 | 10 | 1
100 percentile | [8 empty] | 6.5-8.5
*Oil & Grease - Only requires 6 samples per year (Feb, Apr, Jun, Aug, Oct & Dec)
Exceedance Report
Date | Parameter |  | Comment