## Mittagong Pt3 2017-21
MITTATGONG SEWAGE TREATMENT SYSTEM - LICENCE NUMBER 10362
Point 3
Test results for March 2020-April 2021
Parameter | BOD | TSS | Ammonia | Total N | Total P | pH | Faecal coliforms | Oil & Grease | Flow data
Units | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | pH units | (CFU/100mL) | (mg/L) | kL/d
EPA 50%ile Limit | 7 | 10 | NA | 7 | 0.2 | NA | NA | NA | NA
EPA 50%ile Result | 1 | 6 | NA | 4.7 | 0.15 | NA | NA | NA | NA
EPA 80%ile Limit | NA | NA | NA | NA | NA | NA | 200 | NA | NA
EPA 80%ile Result | NA | NA | NA | NA | NA | NA | 8 | NA | NA
EPA 90%ile Limit | 10 | 15 | 2 | 10 | 0.3 | NA | NA | NA | NA
EPA 90%ile Result | 4 | 9 | 1.8 | 6.5 | 0.29 | NA | NA | NA | NA
EPA 100%ile Limit | NA | NA | NA | NA | NA | 6.5-8.5 | NA | NA | NA
EPA 100%ile Result | NA | NA | NA | NA | NA | 7.5 | NA | NA | NA
Minimum | 0 | 3 | 0.55 | 1.69 | 0.04 | 6.7 | 0.5 | 2.5 | 1512
Maximum | 6 | 10 | 2.68 | 7.4 | 0.36 | 7.45 | 7500 | 2.5 | 13691
Number of samples collected | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 11 | 365
EPA monitoring frequency | 26 | 26 | 26 | 26 | 26 | 26 | 26 | NA | 365
Annual compliance with EPA licence | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass
MITTATGONG SEWAGE TREATMENT SYSTEM - LICENCE NUMBER 10362
Point 3
Test results for March 2019-April 2020
Parameter | BOD | TSS | Ammonia | Total N | Total P | pH | Faecal coliforms | Oil & Grease | Flow data
Units | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | pH units | (CFU/100mL) | (mg/L) | kL/d
EPA 50%ile Limit | 7 | 10 | NA | 7 | 0.2 | NA | NA | NA | NA
EPA 50%ile Result | 1 | 7 | NA | 6.7 | 0.1 | NA | NA | NA | NA
EPA 80%ile Limit | NA | NA | NA | NA | NA | NA | 200 | NA | NA
EPA 80%ile Result | NA | NA | NA | NA | NA | NA | 8.2 | NA | NA
EPA 90%ile Limit | 10 | 15 | 2 | 10 | 0.3 | NA | NA | NA | NA
EPA 90%ile Result | 3 | 13.6 | 1.5 | 8.5 | 0.3 | NA | NA | NA | NA
EPA 100%ile Limit | NA | NA | NA | NA | NA | 6.5-8.5 | NA | NA | NA
EPA 100%ile Result | NA | NA | NA | NA | NA | 7.6 | NA | NA | NA
Minimum | 0 | 0.5 | 0.07 | 3.8 | 0.03 | 6.65 | 0.5 | 2.5 | 837
Maximum | 6 | 18 | 1.9 | 8.8 | 2.3 | 7.8 | 180 | 8 | 13 565
Number of samples collected | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 7 | 366
EPA monitoring frequency | 24 | 24 | 24 | 24 | 24 | 24 | 24 | NA | 366
Annual compliance with EPA licence | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass
MITTATGONG SEWAGE TREATMENT SYSTEM - LICENCE NUMBER 10362
Point 3
Test results for March 2018-April 2019
Parameter | BOD | TSS | Ammonia | Total N | Total P | pH | Faecal coliforms | Oil & Grease | Flow data
Units | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | pH units | (CFU/100mL) | (mg/L) | kL/d
EPA 50%ile Limit | 7 | 10 | NA | 7 | 0.2 | NA | NA | NA | NA
EPA 50%ile Result | 1 | 5.5 | NA | 4.88 | 0.13 | NA | NA | NA | NA
EPA 80%ile Limit | NA | NA | NA | NA | NA | NA | 200 | NA | NA
EPA 80%ile Result | NA | NA | NA | NA | NA | NA | 28 | NA | NA
EPA 90%ile Limit | 10 | 15 | 2 | 10 | 0.3 | NA | NA | NA | NA
EPA 90%ile Result | 1 | 7 | 0.98 | 6.43 | 0.19 | NA | NA | NA | NA
EPA 100%ile Limit | NA | NA | NA | NA | NA | 6.5-8.5 | NA | NA | NA
EPA 100%ile Result | NA | NA | NA | NA | NA | 7.2 | NA | NA | NA
Minimum | 0 | 1 | 0.17 | 3.43 | 0.055 | 6.5 | 1 | 2.5 | 655
Maximum | 0 | 8 | 1.74 | 7.78 | 0.353 | 7.2 | 960 | 2.5 | 7 544
Number of samples collected | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 18 | 365
EPA monitoring frequency | 26 | 26 | 26 | 26 | 26 | 26 | 26 | NA | 365
Annual compliance with EPA licence | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass
MITTATGONG SEWAGE TREATMENT SYSTEM - LICENCE NUMBER 10362
Point 3
Test results for March 2017-April 2018
Parameter | BOD | TSS | Ammonia | Total N | Total P | pH | Faecal coliforms | Oil & Grease | Flow data
Units | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | pH units | (CFU/100mL) | (mg/L) | kL/d
EPA 50%ile Limit | 7 | 10 | NA | 7 | 0.2 | NA | NA | NA | NA
EPA 50%ile Result | 1 | 5 | NA | 5.41 | 0.13 | NA | NA | NA | NA
EPA 80%ile Limit | NA | NA | NA | NA | NA | NA | 200 | NA | NA
EPA 80%ile Result | NA | NA | NA | NA | NA | NA | 18 | NA | NA
EPA 90%ile Limit | 10 | 15 | 2 | 10 | 0.3 | NA | NA | NA | NA
EPA 90%ile Result | 1 | 6.5 | 0.71 | 6.7 | 0.21 | NA | NA | NA | NA
EPA 100%ile Limit | NA | NA | NA | NA | NA | 6.5-8.5 | NA | NA | NA
EPA 100%ile Result | NA | NA | NA | NA | NA | 7.3 | NA | NA | NA
Minimum | 1 | 2 | 0.2 | 3.83 | 0.059 | 6.8 | 0 | 2.5 | 961
Maximum | 1 | 9 | 1.42 | 7.78 | 0.263 | 7.3 | 300 | 2.5 | 9 403
Number of samples | 26 | 27 | 26 | 27 | 26 | 26 | 26 | 27 | 365
EPA monitoring frequency | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 365
Annual compliance EPA limits | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass