## Robertson EPA point1
ROBERTSON SEWAGE TREATMENT SYSTEM
LICENCE NUMBER 20205
Licencing Period 1 September 2022 - 30 August 2023
Test results for Discharge Monitoring Point 1
SAMPLE ANALYSIS DATE |  |  |  | BOD | TSS | Ammonia | Total N | Total P | pH | Faecal coliforms | *Oil & Grease
Date Taken | Received by | Reviewed by | Published | (mg/L) | (mg/L) | (mg/L) N | TKN+NOX (mg/L) | (mg/L) P | pH units | (CFU/100mL) | (mg/L)
2022-09-06 | 2022-09-15 | IF | 2022-09-29 | 1 | 1 | 0.01 | 3.1 | 0.12 | 7.2 | 1 | 2.5
2022-09-14 | 2022-09-22 | IF | 2022-09-29 | 1 | 1 | 0.01 | 1.2 | 0.13 | 7.4 | 1 | 2.5
2022-09-20 | 2022-09-29 | IF | 2022-10-13 | 1 | 1 | 0.01 | 2.84 | 0.197 | 7.4 | 1 | 2.5
2022-09-28 | 2022-09-09 | EB | 2022-10-19 | 1 | 1 | 0.01 | 2.12 | 0.139 | 7.5 | 1 | 2.5
2022-10-05 | 2022-10-17 | EB | 2022-10-27 | 1 | 1 | 0.01 | 1.5 | 0.168 | 7.2 | 1 | 2.5
2022-10-12 | 2022-10-25 | EB | 2022-11-01 | 1 | 1 | 0.01 | 10.1 | 0.198 | 6.9 | 1 | 2.5
2022-10-18 | 2022-10-28 | EB | 2022-11-09 | 1 | 1 | 0.01 | 1.14 | 0.22 | 7.2 | 1 | 2.5
2022-10-26 | 2022-11-04 | EB | 2022-11-09 | 1 | 1 | 0.01 | 4.32 | 0.093 | 6.9 | 1 | 2.5
2022-11-01 | 2022-11-22 | EB | 2022-12-01 | 1 | 1 | 0.01 | 2.03 | 0.16 | 7.2 | 1 | 2.5
2022-11-09 | 2022-11-17 | EB | 2022-12-01 | 1 | 1 | 0.01 | 1.98 | 0.129 | 7.2 | 1 | 2.5
2022-11-15 | 2022-11-23 | EB | 2022-12-06 | 1 | 1 | 0.01 | 1.92 | 0.229 | 7.3 | 1 | 2.5
2022-11-23 | 2022-12-01 | EB | 2022-12-06 | 1 | 1 | 0.01 | 1.08 | 0.189 | 7.4 | 1 | 2.5
2022-11-29 | 2022-12-09 | EB | 2022-12-16 | 1 | 1 | 0.01 | 1.34 | 0.2 | 7.3 | 1 | 2.5
2022-12-07 | 2022-12-19 | EB | 2022-12-23 | 1 | 2 | 0.01 | 2.09 | 0.177 | 7.2 | 1 | 2.5
2022-12-13 | 2022-12-22 | EB | 2022-12-23 | 1 | 1 | 0.01 | 2.38 | 0.149 | 7.4 | 1 | 2.5
2022-12-28 | 2023-01-05 | IF | 2023-01-05 | 1 | 1 | 0.03 | 3.5 | 0.18 | 7.3 | 1 | 2.5
2023-01-04 | 2023-01-13 | TK | 2023-01-16 | 1 | 1 | 0.01 | 2.37 | 0.144 | 7.2 | 1 | 2.5
2023-01-10 | 2023-01-19 | TK | 2023-01-25 | 1 | 1 | 0.01 | 1.22 | 0.275 | 7.4 | 1 | 2.5
2023-01-18 | 2023-01-27 | IF | 2023-02-02 | 1 | 1 | 0.01 | 1.4 | 0.17 | 7.3 | 1 | 2.5
2023-01-24 | 2023-02-03 | WM | 2023-02-14 | 1 | 1 | 0.01 | 1.29 | 0.201 | 7.4 | 1 | 2.5
2023-02-01 | 2023-02-10 | WM | 2023-02-14 | 1 | 1 | 0.01 | 0.97 | 0.076 | 7.2 | 1 | 2.5
2023-02-07 | 2023-02-20 | EB | 2023-03-03 | 1 | 1 | 0.01 | 1.26 | 0.24 | 7.5 | 1 | 2.5
2023-02-15 | 2023-03-01 | EB | 2023-03-08 | 1 | 1 | 0.01 | 1.18 | 0.121 | 7.4 | 1 | 2.5
2023-02-21 | 2023-03-02 | EB | 2023-03-08 | 1 | 1 | 0.01 | 1.56 | 0.29 | 7.5 | 1 | 2.5
2023-03-01 | 2023-03-09 | EB | 2023-03-15 | 1 | 1 | 0.01 | 1.09 | 0.084 | 7.5 | 1 | 2.5
2023-03-07 | 2023-03-16 | EB | 2023-03-28 | 1 | 1 | 0.1 | 2.89 | 0.148 | 7.3 | 1 | 2.5
2023-03-15 | 2023-03-24 | EB | 2023-03-28 | 1 | 1 | 0.01 | 1.14 | 0.173 | 7.4 | 1 | 2.5
2023-03-21 | 2023-03-30 | EB | 2023-04-04 | 1 | 1 | 0.01 | 1.44 | 0.22 | 7.5 | 1 | 2.5
2023-03-29 | 2023-04-12 | EB | 2023-04-21 | 1 | 1 | 0.01 | 2.03 | 0.103 | 7.2 | 1 | 2.5
2023-04-04 | 2023-04-13 | EB | 2023-04-21 | 1 | 1 | 0.01 | 1.88 | 0.0065 | 7 | 1 | 2.5
2023-04-12 | 2023-04-20 | EB | 2023-04-28 | 1 | 1 | 0.01 | 1.29 | 0.17 | 7.6 | 1 | 2.5
2023-04-18 | 2023-05-02 | EB | 2023-05-15 | 1 | 1 | 0.01 | 1.09 | 0.118 | 7.4 | 1 | 2.5
50 percentile |  |  |  | 1 | 1 | 0.01 | 1.53 | 0.169
80 percentile | [9 empty] | 1
90 percentile |  |  |  | 1 | 1 | 0.01 | 3.079 | 0.2281
100 percentile | [8 empty] | 7.3063
*Oil & Grease - Only required when discharging to the river.
Licence Target
50 percentile |  |  |  | 5 | 5 |  | 5 | 0.2
80 percentile | [9 empty] | 20
90 percentile |  |  |  | 10 | 10 | 1 | 10 | 0.3
100 percentile | [8 empty] | 6.5-8.5
Exceedance Report
Date | Parameter |  | Comment
2022-10-12 | Total nitrogen |  | Wet weather (ie La Nina) conditions contributing to elevated nutrient levels.