## Berrima Website Report
BERRIMA SEWAGE TREATMENT SYSTEM
LICENCE NUMBER 3575
Licencing Period 1 May 2023 - 30 April 2024
FINAL EFFLUENT MONITORING MONTHLY TEST RESULTS (POINT 2)
SAMPLE DATE |  |  |  | BOD | TSS | Ammonia | Total N | Total P | pH | Faecal coliforms | *Oil & Grease
Taken | Received | Reviewed By | Published | (mg/L) | (mg/L) | (mg/L) N | TKN+NOX (mg/L) | (mg/L) | pH units | (CFU/100mL) | (mg/L)
2023-05-02 | 2023-05-11 | EB | 2023-05-23 | 1 | 1 | 1.06 | 3.83 | 0.215 | 7.3 | 4400 | 0
2023-05-30 | 2023-06-07 | EB | 2023-06-21 | 1 | 3 | 1.21 | 4.93 | 0.085 | 7.9 | 120 | 0
2023-06-27 | 2023-07-07 | WM | 2023-07-18 | 1 | 3 | 1.13 | 3.81 | 0.067 | 7.8 | 95 | 2.5
2023-07-25 | 2023-08-02 | WM | 2023-08-14 | 1 | 1 | 1.45 | 4.97 | 0.082 | 7.7 | 20 | NA
2023-08-22 | 2023-09-01 | WM | 2023-09-14 | 1 | 1 | 0.73 | 4.31 | 0.056 | 8 | 65 | 2.5
2023-09-19 | 2023-09-28 | WM | 2023-09-29 | 1 | 3 | 0.02 | 2.91 | 0.04 | 9.5 | 31 | NA
2023-10-17 | 2023-10-27 | LH | 2023-11-09 | 3 | 9 | 0.4 | 2.31 | 0.141 | 9.3 | 25 | 2.5
2023-11-14 | 2023-11-24 | LH | 2023-12-01 | 1 | 2 | 0.09 | 6.35 | 0.134 | 7.3 | 76 | NA
2023-12-13 | 2023-12-22 | LH | 2023-01-10 | 1 | 1 | 0.15 | 5.09 | 0.069 | 7.2 | 120 | 2.5
2024-01-09 | 2024-09-18 | LH | 2024-01-25 | 1 | 3 | 0.02 | 3.51 | 0.354 | 8.5 | 680 | NA
2024-02-06 | 2024-02-17 | LH | 2024-02-28 | 7 | 10 | 3.65 | 7.21 | 0.416 | 7.4 | 100 000 | 2.5
2024-03-05 | 2024-03-17 | LH | 2024-03-28 | 9 | 10 | 0.03 | 2.65 | 0.221 | 8.3 | 430 | NA
2024-04-03 | 2024-04-16 | LH | 2024-04-24 | 7 | 12 | 0.13 | 2.78 | 0.261 | 8 | 1200 | 2.5
|  |  |  | 1 | 2 | 0.09 | 6.35 | 0.134 | 7.3 | 76
50 percentile |  |  |  | 1 | 3 |  | 4.07 | 0.134
80 percentile
90 percentile |  |  |  | 7 | 10 | 1.378 | 6.35 | 0.3261
100 percentile | [8 empty] | 7.3
Licence Target
50 percentile |  |  |  | 7 | 15 |  | 7 | 0.5
80 percentile
90 percentile |  |  |  | 10 | 20 | 2 | 10 | 1
100 percentile | [8 empty] | 6.5-8.5
*Oil & Grease - Only requires 6 samples per year (Feb, Apr, Jun, Aug, Oct & Dec)
Exceedance Report
Date | Parameter |  | Comment